## Pre-Site Visit Checklist
General Project Information
Project Name: |  | Date of Field Trip:
State Route: | Mile Post(s):
Region/Project Location:
This form is filled out by:
Steps to Gather Information to Create Site Visit Packet
1. Access the stormwater retrofit priorization GIS layer on the GIS workbench to verify the stormwater retrofit priority of segments within the mile posts limits
2. Visit the WSDOT ECM portal to retrieve existing as-builts and ROW maps for mile post limits to better understand the current drainage and potential areas for constructing BMPs
http://wsdotecm/Portal/#
3. Access the Highway Activities Tracking System (HATS) to determine if existing pavement in each proposed project area, or specific segments within each project area, are already treated with
existing runoff treatment or flow control BMPs. Please note the type of existing BMPs on the as-built plans.
4. Access WSDOT and County/City GIS layers to better define existing conditions (e.g., floodplain maps, BMP/conveyance system mapping, WSDOT vs. City ownership of the stormwater system per RCW 47.24). Provide feedback to ESO if a project, or specific segments within a project, will be removed from the scoping list due to City ownership of the stormwater system per RCW 47.24 (i.e., non-limited access city streets that form parts of state highways within the limits of incorporated cities and towns).

## Site Visit Checklist
General Project Information
Project Name: |  |  | Date of Field Trip:
State Route: | Mile Post(s): | Attendees:
Region/Project Location:
This form is filled out by:
Existing Site Assessment
1. General Existing Site conditions:
a.Describe how many lanes in each direction and where they flow to:
b. Are there any existing BMPs within the MP limits? If so, what is the Stormwater Features Inventory # (see Highway Activity Tracking System - HATS), what BMP type, and where? If the existing BMP only provides flow
control, the area going to the existing flow control BMP would still be a candidate for runoff treatment retrofit.
c. Any sensitive areas or critical areas to avoid? (streams, wetlands, steep slopes, etc.) If so, what kind and where?
d. Describe the existing and/or available right of way and adjacent property owners (federal, tribal, county, city or private):
e. Existing Utilities (aerial, buried, drainage, etc) that may conflict with new BMPs:
f. Possible constraints (groundwater issues, infiltration design, slope stability for BMP design):
g. Notes from Region Maintenance Representative about existing conditions?
h. Notes from Biology/Permit staff about existing conditions?
i. Notes from HQ Hydraulics staff about existing conditions?
j. Notes from Region Hydraulics staff about existing conditions?
k. Notes from Region Materials Representative staff about existing conditions?
Site Visit Decisions
2. Retrofit opportunity:
a. Can treatment be provided for existing impervious not currently treated? Yes/No
b. Can flow control be provided for existing impervious not currently controlled? Yes/No
3. Discuss Generally what type of stormwater BMPs seem feasible based on site visit and where they would be placed. The goal is to treat as much pollution generating impervious surface as possible. Stormwater
BMPs need to be designed to full HRM standards if feasible but can be designed to partial standards if needed. Draw sketches or insert pictures to explain the stormwater retrofit BMP placements and
general concept. Please include maintenance access routes in the drawings.
a. Any changes to highway geometrics required to accommodate this option? If yes, please explain what changes need to be made.
b. Is there any new Right of Way needed to implement the stand-alone stormwater retrofit plan? Please include maintenance access to new stormwater BMPs in this discussion. If yes, please explain where new ROW is needed.
Follow-up Work
4. Based on the Stand-Alone Stormwater Retrofit plan above:
a. Is there any biology/permit work needed? If so, please explain any follow-up action items:
b. Are there any soils investigations/piezometers needed (groundwater issues, infiltration design, slope stability for BMP design)? If so, please explain any follow-up action items. Please keep in mind that decommissioning piezometers and
monitoring wells shall follow Chapter 3 of the WSDOT Geotechnical Design Manual.
c. Is there any new Right of Way needed to implement the stand-alone stormwater retrofit plan? Please include maintenance access to new stormwater BMPs in this discussion. If so, please explain any follow-up action items:
d. Are there any overlapping investigations needed due to past projects and stormwater BMPs within the stand-alone stormwater retrofit mile posts? If so, please explain any follow-up action items:
e. Are there any overlapping investigations needed due to future projects within the stand-alone stormwater retrofit mile posts? If so, please explain any follow-up action items:
Group Agreement and Next Steps
5. Does the scoping team agree with the concept and issues documented above? Yes/No
6. Anticipated Project Schedule:
7. Any other outstanding issues/concerns not captured by questions above?
8. Punch list of issues to be resolved |  |  |  | By When? | Responsible Party